## MainParts
*Alternate part. Use this part if the mainly listed part is not available. Keep it in mind that I checked the specs of those alternate part but not tested so I cannot guarantee that those alternate parts work at 100%. If the alternate part doesn't work, you need to find another part by yourself. The requirements of the alternate part is described in the "Alternate part" column (Most right column of this excel sheet).
[9 empty] | Total price: | 359.7244 | (each)
Comment | Component | Part | Name | Manufacture #/Catalog # | Vendor | Description | Part number is the set | Required part number for each device | $(Set) | $(Each device) | URL | Alternate part requirement
You have two options for the main computer. The Raspberry Pi 4 is more affordable choice. This will remain in production until at least Jan 2034. Raspberry Pi 5 is more expensive but offers higher performance. I recommend to use Raspberry Pi 4 model B as long as it is available. | Computer | Computer (RaspberryPi4) | Raspberry Pi 4, Model B, 8GB |  | Amazon | Single board linux computer | 1 | 1 | 64 | 64 | https://www.amazon.com/Raspberry-Pi-Computer-Suitable-Workstation/dp/B0899VXM8F/ref=sr_1_10?dchild=1&keywords=raspberry+pi+8gb&qid=1625106586&sr=8-10
|  | Computer accessory (RaspberryPi4) | Miuzei Case set |  | Amazon | Cooling fan, power adapter, cables and case | 1 | 1 | 15.99 | 15.99 | https://www.amazon.com/Miuzei-Raspberry-HDMI-Micro-Aluminum-Included/dp/B07VX2WDHM/ref=sr_1_7_sspa?dchild=1&keywords=raspberry+pi+4+case+set&qid=1625107272&sr=8-7-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUEzOEswQ1AwOThGRjZZJmVuY3J5cHRlZElkPUEwODA5MjA4MURTWDNEV1o5UFZBTCZlbmNyeXB0ZWRBZElkPUEwNzI5NjI3MVRPS0ZVNEM2NE00MCZ3aWRnZXROYW1lPXNwX210ZiZhY3Rpb249Y2xpY2tSZWRpcmVjdCZkb05vdExvZ0NsaWNrPXRydWU= | Any case for the Raspbeery Pi 4 with CPU cooling fan should work but user need to make screw holes on the body frame of the OperantHouse when it is installed.
|  | Computer (RaspberryPi5) | *Raspberry Pi 5 (16GB) | Raspberry Pi 5 (16GB) | Amazon |  | 1 | 1 | 127.9 |  | https://www.amazon.com/Raspberry-Pi-SC1113-5-16GB/dp/B0DSPYPKRG/ref=sr_1_1?crid=344GC6DA578F6&dib=eyJ2IjoiMSJ9.DfQtJ-pTb9MKps-hCWVEZn4W70j7hJIirtDU__7QpkfN2kVrfXSBnvKsiLWP6KUL5WDCNTE6kaigSgwhmqMVonSvEx-2U4fmgsWNvUMyCDevGM3ZTfdfiaAb48venXda8FhWfWN6Y3HvIdy4O3pc5_d5l5nXqU9EYeGE83cBXPGEbJyldoSd1bjIwBQ7BLuKKoNXKFD0hXAbjrs7GvNeqZCGUeFMm15ehG734pyHfG0.pt11_QvrV8Usbj_eortUnCLORlf1JRLAAKKZ-GYVTGg&dib_tag=se&keywords=raspberry+pi+5+16gb&qid=1759506158&sprefix=raspberry+pi+5+16g%2Caps%2C180&sr=8-1
|  | Computer accessory (RaspberryPi5) | *Raspberry Pi Raspberry Pi 5 Active Cooler - Aluminum Heatsink - SC1148 | SC1148 | Amazon | Cooling fan | 1 | 1 | 9.99 |  | https://www.amazon.com/Raspberry-Pi-Active-Cooler/dp/B0CLXZBR5P/ref=sr_1_1?crid=3P1RUWHVHKWUW&dib=eyJ2IjoiMSJ9.x-XyN421aVJ3lmDqsvhzBBQO-oEu7cgjOKpJ3awZxgTa3aCdOzCoRQPAua2qXXDRTmpw_6gQqfdy3zhtvumXGh6uL1gqSxDCtZkWnKM5Wn7agvoC3-PPvPLHSwY4TvSN8k2fqmNYzw4MkwgBVGoxXale84qgafjehgCh6NppVDeBbdoRwakuwOgk6esAhVudhhOx1aYvNE3GIvcs7lmEMZR9lNGB6Ikc8VLxpiwgh0w.9CQCcPu0YAuLaDt0eG6NWPfJKGhouLbMkQqotGuYG7I&dib_tag=se&keywords=raspberry+pi+5+fan&qid=1759506091&sprefix=raspberry+pi+5+fan%2Caps%2C151&sr=8-1
|  | Computer accessory (RaspberryPi5) | *Official 27W USB-C Power Supply for Raspberry Pi 5, 5.1V/5A, 9V/3A, 12V/2.25A, 15V/1.8A, Black US | RPi 5 Official 27W PSU Black US x1 | Amazon | Power adapter (5V 5A) | 1 | 1 | 22.76 |  | https://www.amazon.com/RasTech-Power-Supply-Raspberry-Adapter/dp/B0CLV6WB4L/ref=sr_1_1?crid=3D09G82LA1BHB&dib=eyJ2IjoiMSJ9.QybuSGu7Zn6U8Q5u8ULPZ03XELKsVK5ndYzxw68q3Pb1MuwTjTAm7HtUiFK4x_Pq2ASaGO3y3HAvSrEvqslrWtlhQ4e_7pnkqDmU8xKmpRD17VBUtF0rYyXsFW2db3l62dJ6C8pNyLlSvqEHpUKx--DkImVqyx5Ew7FQ-dmWd2LRFwsw-HVKCR7VrYmK3uJ_zBwvxb5WDNpd7X_msrLsBq9jp36naypXM24iptDrqKo.Ug3XsfLjk-slXRqd6eCdfTYOSjuDbM94olm5CUHA-mE&dib_tag=se&keywords=raspberry+pi+5+power&qid=1759506385&sprefix=raspberry+pi+5+powe%2Caps%2C150&sr=8-1
This is a new version. Although we have not tested this, it would be cheaper and have better performances so we recommend it as a first choise. |  | Data storage | MicroSD card (512GB,SanDisk) | SanDisk 512GB Extreme microSDXC UHS-I Memory Card with Adapter - Up to 190MB/s, C10, U3, V30, 4K, 5K, A2, Micro SD Card - SDSQXAV-512G-GN6MA | Amazon |  | 1 | 1 | 39.99 | 39.99 | https://www.amazon.com/SanDisk-Extreme-microSDXC-Memory-Adapter/dp/B09X7C2GBC/ref=sr_1_2?crid=2FJABKNVVF4ZI&dib=eyJ2IjoiMSJ9.NcGfz8yBFMCNe_4w-GHrUeGtQwmL7deIMOpcRlhrZhBVB7uOljqZZfrx0GZbKKL5D1hdT-vVZAedyoj5g-ynW5BePfGbFaSRBmm84igjQNRmZhMYjwUlHMtxVW9Yg9MVv0platC0mmAO_-x983AoyEqx0c3kVA_eeUUqnENt65fjWXtD93lVgZqQr_Cq6sYpx_uIhFf9CvQSxcbAqDpMn4Fos85GKXruIWdXQTqNujc.ndPOpnDalHVAqTKRpV0-dfAw5gq2_otO5ezBo_MYpRw&dib_tag=se&keywords=400gb%2Bsandisk&qid=1758724348&sprefix=400gb%2Bsandis%2Caps%2C146&sr=8-2&th=1 | Any micro SD card with around 400GB or more is recommended if you want to store 3-6 months of vide data in the devie. The size of the Raspberry pi OS is around 1.165GB and program of the OperantHouse is 16MB. You can use the remaining space for behavioral result and video storage.
We tested with this SD card. |  |  | *MicroSD card (400GB,SanDisk) | SanDisk 400GB Ultra microSDXC UHS-I Memory Card with Adapter - 120MB/s, C10, U1, Full HD, A1, Micro SD Card - SDSQUA4-400G-GN6MA | Amazon |  | 1 | 1 | 48.74 |  | https://www.amazon.com/SanDisk-400GB-microSDXC-Memory-Adapter/dp/B08GYG5SVQ/ref=sr_1_3?dchild=1&keywords=sd%2Bcard%2B400gb&qid=1625107724&sr=8-3&th=1
|  | Microcontroller | Arduino Uno REV3 [A000066] | A000066 | Amazon |  | 1 | 1 | 27.6 | 27.6 | https://www.amazon.com/Arduino-A000066-ARDUINO-UNO-R3/dp/B008GRTSV6/ref=sr_1_3?dchild=1&keywords=arduino+uno&qid=1625105768&sr=8-3
|  | USB2 cable (Type A male - Type B male, 1.5ft) | Printer Cable 1.5 ft,USB Printer Cable High Speed USB 2.0 A Male to Type B Male Scanner Cord Compatible with HP, Canon, Epson, Dell, Brother, Xerox, Samsung etc (1.5FT/0.5M) |  | Amazon | Choose length as 1.5 feets | 1 | 1 | 4.99 | 4.99 | https://www.amazon.com/Printer-Scanner-Compatible-Brother-Lexmark/dp/B08KY37Y1S/ref=sr_1_3?crid=197SM7ZWIRDY8&dib=eyJ2IjoiMSJ9.WiUPBS-sqh0RjWC17T-djD9hAvWvEg8GEr_qb05xsU4hn4bZgsptcDZDdvJwwweH0BjYBrf13EMN_PsHjxX8UAJDAhKpMalngncN2jr3eRIT7xEtGOz703ivDlH0-tDZ59OAtmY1fmSiAS_sq9xnqLw-hxkj5u--yNMJAsGK20tFWN60LGbuUxPDc5r6NElbwhE2QZdHSsUgHlMB0WHlyV3QVJQjZAwR6m6ZJZ9tEaI.BEFS9BiT3y40lGwqMwSKcrF5so7wv2ZMORGAtQgegyw&dib_tag=se&keywords=usb2%2Btype%2Ba%2Bto%2Bb%2B1.5feet&qid=1747238085&sprefix=usb2%2Btype%2Ba%2Bto%2Bb%2B1.5feet%2Caps%2C72&sr=8-3&th=1 | Any USB2 TypeA(male) to TypeB(male) works. Don't buy USB3 because it doesn't fit to Arduino.
|  |  | *Tiierzon USB Printer Cable - 1.5Ft, Type A Male to B Male, High Speed, Compatible with HP, Canon, Dell, Lexmark, Xerox, Samsung |  | Amazon | Choose length as 1.5 feets | 1 | 1 | 5.59 |  | https://www.amazon.com/Printer-Scanner-Compatible-Lexmark-Samsung/dp/B09PY8BZ9J/ref=sr_1_4?crid=197SM7ZWIRDY8&dib=eyJ2IjoiMSJ9.WiUPBS-sqh0RjWC17T-djD9hAvWvEg8GEr_qb05xsU4hn4bZgsptcDZDdvJwwweH0BjYBrf13EMN_PsHjxX8UAJDAhKpMalngncN2jr3eRIT7xEtGOz703ivDlH0-tDZ59OAtmY1fmSiAS_sq9xnqLw-hxkj5u--yNMJAsGK20tFWN60LGbuUxPDc5r6NElbwhE2QZdHSsUgHlMB0WHlyV3QVJQjZAwR6m6ZJZ9tEaI.BEFS9BiT3y40lGwqMwSKcrF5so7wv2ZMORGAtQgegyw&dib_tag=se&keywords=usb2%2Btype%2Ba%2Bto%2Bb%2B1.5feet&qid=1747238085&sprefix=usb2%2Btype%2Ba%2Bto%2Bb%2B1.5feet%2Caps%2C72&sr=8-4&th=1
|  |  | *2 Pack Printer Cable 1.5 ft,USB Printer Cable USB 2.0 A Male to Type B Male Scanner Cord Compatible with HP, Canon, Epson, Dell, Brother, Xerox, Samsung etc (1.5ft/0.5m) |  | Amazon |  | 2 | 1 | 5.59 |  | https://www.amazon.com/Printer-Scanner-Compatible-Brother-Lexmark/dp/B08LZ1WRQC/ref=sr_1_6?crid=197SM7ZWIRDY8&dib=eyJ2IjoiMSJ9.WiUPBS-sqh0RjWC17T-djD9hAvWvEg8GEr_qb05xsU4hn4bZgsptcDZDdvJwwweH0BjYBrf13EMN_PsHjxX8UAJDAhKpMalngncN2jr3eRIT7xEtGOz703ivDlH0-tDZ59OAtmY1fmSiAS_sq9xnqLw-hxkj5u--yNMJAsGK20tFWN60LGbuUxPDc5r6NElbwhE2QZdHSsUgHlMB0WHlyV3QVJQjZAwR6m6ZJZ9tEaI.BEFS9BiT3y40lGwqMwSKcrF5so7wv2ZMORGAtQgegyw&dib_tag=se&keywords=usb2%2Btype%2Ba%2Bto%2Bb%2B1.5feet&qid=1747238085&sprefix=usb2%2Btype%2Ba%2Bto%2Bb%2B1.5feet%2Caps%2C72&sr=8-6&th=1
| Monitor | Monitor | Any typical monitor (the internal circuit board is not exposed) around 10 inches in size with a resolution of 1024x600 or higher should work. The monitor with flat front design (e.g. there is no step between LCD and body in the front side) is better because it prevents animal bedding from getting caught at the step. In the article I used non-IPS Haiway's monitor but we found Hosyond's IPS monitor is better because of it wider upward view angle that make it easy to find which panel is illuminated in the captured image by the ceiling camera. Probably both monitor look the same from the subject mouse so it won't affect the behavioral result so if you prioritize resolution over view angle, use the Haiway's monitor. If you want to use other monitor having a touch-screen function and it is designed to supply power and touch data transfer with a single USB line, connect the line to the A/C adapter but not to the USB port of the Raspberry Pi. If it is connected to the Raspberry Pi, the touch-screen function of the monitor is activated and it can disturb the IR sensor bar function of the Operant House software.
|  |  | Hosyond 10.1 inch IPS LCD monitor (1280 x 800 pixels, HDMI) | 10.1" IPS LCD Capacitive Touchscreen Monitor HDMI Display 1280x800 for Raspberry Pi 5/4/3B+ Xbox PS4 Windows 7/8/10 | Amazon |  | 1 | 1 | 66.99 | 66.99 | https://www.amazon.com/gp/product/B0CLQZ48BF/ref=ox_sc_act_title_1?smid=A1PKC2PUMNR8VD&th=1 | This monitor has screen-touch function. Since it can interfere the Operant House program, its USB line for data transffer must not be connected. (USB line for power supply can be connected)
|  |  | *Haiway 10.1 inch LCD monitor (1366 x 768 pixels, HDMI) | Haiway 10.1 inch Security Monitor, 1366x768 Resolution Small HDMI Monitor Small Portable Monitor with Remote Control with Built-in Dual Speakers HDMI VGA BNC USB Input for Gaming CCTV Raspberry Pi PC | Amazon |  | 1 | 1 | 63.72 |  | https://www.amazon.com/Haiway-Security-Surveillance-Controller-Resolution/dp/B07WCQ627G/ref=sr_1_2?dchild=1&keywords=1366+768+10.1+monitor&qid=1625108803&sr=8-2
|  | HDMI cable (Male - Male micro, 1ft) | Twozoh Micro HDMI to HDMI Cable 1FT 2 Pack, Nylon Braided Micro HDMI Cable Support 3D/4K@60Hz 18Gbps/2160P/1080P for GoPro Hero7/8/9 Raspberry Pi 4 |  |  |  | 2 | 1 | 12.79 | 6.395 | https://www.amazon.com/Twozoh-Braided-Support-18Gbps-Raspberry/dp/B0CMTR9S3Y/ref=sr_1_2_sspa?crid=34256IK7WI375&dib=eyJ2IjoiMSJ9._cKQlugYLYiRICSQQiaZf6DDcvndRGrHaiev8_tkRDyvcAnWDJrrrPUsuQm_ZVYeCdW4J5KEEgge8xP330zb8jpUQKQU6zkcrPJYsslHv4K7E77-uVGpkNchwimRRVcEhu8aOnSe-YsPOf8t1FDWqJVa17SNc0FNoskEik4hltoUW7lcjlIyEi0Uq1T4a7lgUWu0eNBEKFiHENM5HAW-f88lcsY9ww3GA3weiS5SKCk.dQu3vt9XH-pWNJ4vTf2YZscWjWycYAr-Ip4kArcU2fQ&dib_tag=se&keywords=hdmi%2Bmicro%2B1ft&qid=1747238866&sprefix=hdmi%2Bmicro%2B1ft%2Caps%2C133&sr=8-2-spons&sp_csd=d2lkZ2V0TmFtZT1zcF9hdGY&th=1 | Any 1 feet HDMI-micro HDMI cable should work.
|  |  | *Highwings 4K Micro HDMI to HDMI Cable 1 FT, 4K@60Hz HDR, Micro HDMI Cord Compatible for DSLR Camera, Raspberry Pi, GoPro Hero to TV, Laptop, Computer, Monitor, for Video, Audio, Image, Streaming |  |  | Choose length as 1 feet | 1 | 1 | 8.99
| Camera | Camera | A USB camera with wide field of view >100° and screw holes in the same position should work. Its IR filter must be separated from the lens because we have to remove it for IR imaging (Most of the USB cameras look like the following list would have the separated IR filter but you have determine by yourself if you try with other camera. If you use other camera and the captured image is saturated, increase the resistance of the resister connected to the IR LED.
|  |  | ELP USB camera (157 degrees view angle, 2MP) | ELP-USBFHD01M-L21 | Amazon | For the detection of nosepoking and monitoring of mice | 1 | 1 | 45.97 | 45.97 | https://www.amazon.com/ELP-Camera-Megapixel-Windows-Android/dp/B00KA7WSSU/ref=sr_1_3?crid=YM6J1HD1UVGZ&keywords=ELP+USB+camera%282.1mm+lens%2C+1080p%29&qid=1680813425&sprefix=elp+usb+camera+2.1mm+lens%2C+1080p+%2Caps%2C110&sr=8-3
|  |  | *Arducam B0200 (100 degrees, 2MP) | 9SIAY4BEEY0298 | Newegg | Same as above but more expensive and better durability | 1 | 1 | 72.47 |  | https://www.newegg.com/p/1B4-0953-002J7?Description=usb%20camera&cm_re=usb_camera-_-9SIAY4BEEY0298-_-Product&quicklink=true | The view angle of this camera is smaller and the green cue LED won't be in its field of view. If you use this camera, move the LED below the water slit.
| Circuit | PCB board | ElectroCookie Solderable Breadboard PCB Board for Electronics Projects Compatible for DIY Arduino Soldering Projects, Gold-Plated (5 Pack + 1 Mini Board, Blue) |  | Amazon |  | 5 | 0.2 | 8.49 | 0.3396 | https://www.amazon.com/dp/B07ZV8FWM4/ref=sspa_dk_detail_0?psc=1&pd_rd_i=B07ZV8FWM4&pd_rd_w=ymGCh&pf_rd_p=48d372c1-f7e1-4b8b-9d02-4bd86f5158c5&pd_rd_wg=RlFbL&pf_rd_r=VZN6AZT5117MXZTD12Z1&pd_rd_r=3c7db60a-5271-41cd-89fc-05c6ac8cd662&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUExMlhQNDgyM0dTU1ImZW5jcnlwdGVkSWQ9QTA4Mzg4NzkzSjRTQlE1ODJIQllQJmVuY3J5cHRlZEFkSWQ9QTA5MTY1MjYxRTRBWjZZOVU5TEtOJndpZGdldE5hbWU9c3BfZGV0YWlsJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ== | Any breadboard PCB board (A PCB board which has similar pattern to breadborad) which fits to the back of the OperantHouse should work (If the position of the screw holes are different, you need to make a screw holes on the OperantHouse by yourself).
|  |  | *10 Pcs Solderable Breadboard PCB Board Gold-Plated Solder Breadboard for DIY Electronics Projects Apply to Soldering Projects 3.5"x2.05" (Black) |  |  |  | 10 | 1 | 16.99 |  | https://www.amazon.com/dp/B07ZV8FWM4/ref=sspa_dk_detail_0?pd_rd_i=B07ZV8FWM4&pd_rd_w=ymGCh&pf_rd_p=48d372c1-f7e1-4b8b-9d02-4bd86f5158c5&pd_rd_wg=RlFbL&pf_rd_r=VZN6AZT5117MXZTD12Z1&pd_rd_r=3c7db60a-5271-41cd-89fc-05c6ac8cd662&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUExMlhQNDgyM0dTU1ImZW5jcnlwdGVkSWQ9QTA4Mzg4NzkzSjRTQlE1ODJIQllQJmVuY3J5cHRlZEFkSWQ9QTA5MTY1MjYxRTRBWjZZOVU5TEtOJndpZGdldE5hbWU9c3BfZGV0YWlsJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ&th=1
|  | Resistors (220, 470, 1k, 1.5k ohm are needed) | [Not available] AUSTOR 925 Pieces 37 Values 5% Carbon Film Resistors Assortment Kit, 0 Ohm-1M Ohm 1/4W Resistor for DIY Projects and Experiments |  | Amazon | For switching circuit (Only 220,470,1k,1.5k are needed) | 25 | 1 | 8.99 | 8.99 | https://www.amazon.com/AUSTOR-Resistors-Assortment-Resistor-Experiments/dp/B07BKRS4QZ/ref=sr_1_1?dchild=1&keywords=austor+925+pieces+37+value&qid=1625163056&sr=8-1 | Any 1/4W (or more) resistor with the corresponding resistance should work. If you want to save money, you can buy 220, 470, 1k, 1.5k ohm resistor separately. If you cannot find the specific ohm, you can buy two resistors and connect them in serial (e.g. If you can't find 1.5kohm resistor, you can substitute it by buying 1k and 560 ohm resistor and connect them).
|  |  | *BOJACK 1000 Pcs 25 Values Resistor Kit 1 Ohm-1M Ohm with 5% 1/4W Carbon Film Resistors Assortment |  | Amazon | Only 220,470,1k,1.5k are needed | 50 | 13 | 9.99 |  | https://www.amazon.com/BOJACK-Values-Resistor-Resistors-Assortment/dp/B08FD1XVL6/ref=sr_1_3?crid=H0MAGTHHPRJP&dib=eyJ2IjoiMSJ9.9auwJDD1kOZT_VAxZUQqv68sa9cmYqIz_iW09viGKDXYun-w1X0UVfnwMTATpW1Avsb5Yf_v6bLpK9xv4jsMNzKtKcyvSthOJH1_dfjBBfVYt-ecrv8B3zaL0-ywDXBE9fHgGDjC1JIGM8Ikvly274FvucUniXIrgdK5xH4mPR9PvD5OeCQpqA-UG7nCRoHW--KiqexIHkYAXU35d_kXKXLO4ziU69WcEkjAbBXqkdI.hP8wJKmPn_L_bvGCDCUoAXsHvDHf2dLjNJlCGI7-Yu0&dib_tag=se&keywords=Carbon%2BFilm%2BResistors&qid=1747170259&sprefix=carbon%2Bfilm%2Bresistors%2Caps%2C130&sr=8-3&th=1
|  |  | *1000 PCS Resistor Assortment Kit, 25 Different Values (1Ω-1MΩ), 1/4W Carbon Film, 5% Tolerance for DIY & Electronics Projects |  | Amazon | Only 220,470,1k,1.5k are needed | 50 | 13 | 7.99 |  | https://www.amazon.com/Resistor-Assortment-Different-Tolerance-Electronics/dp/B0DZ1VPQK7/ref=sr_1_1_sspa?crid=2OBGX5759E5RX&dib=eyJ2IjoiMSJ9.BNJiYWYIJ8SO47xLLe9Ppj0aCUx9vsjxqS_Kgvt3qlAGon-XrHBRTyNO_7ZH_SfVmo3M11I785GH4PNk_Vq0N5aATVWvSVRBpUuRUGmSawY5RZlY9AHfCpcLcs63_SA4dJgKg3VtdVQcXqyy4hkcN-fYoI5U3zzY9As4GfXeVTxKOAx1r5-fu-B6jgh9cr0XyjYsJ6chAl84a3RVx8bfEOrbykMWqguCW8SZMehaTiw.BhZWPg1LU63q1PBN44r6lBFZYanqx2PxAKE1ZhGzYkE&dib_tag=se&keywords=resistor%2Bkit&qid=1747233854&sprefix=resistor%2Bkit%2Caps%2C119&sr=8-1-spons&sp_csd=d2lkZ2V0TmFtZT1zcF9hdGY&th=1
|  | Heat shrink tubes | Wire Wrap Sleeve 2.5mm Dia 30mm Long Heat Shrink Tubing 480pcs Black |  | Amazon |  | 480 | 0.1 | 10.89 | 0.0022688 | https://www.amazon.com/Sleeve-2-5mm-Shrink-Tubing-480pcs/dp/B014XJATEU/ref=sr_1_3?dchild=1&keywords=Wire+Wrap+Sleeve+2.5mm+Di&qid=1625163447&sr=8-3 | Any 2.5mm diameter heat shrink tubes work.
|  |  | *Chanzon 2:1 Ratio 3/32" (2.5mm) Heat Shrink Tubing 8Ft Roll (2.5M Total Length) Black Polyolefin Sleeving Wrap Shrinking 2 to 1 1pcs |  | Amazon |  | 8 | 0.5 | 7.99 |  | https://www.amazon.com/Chanzon-Shrink-Polyolefin-Sleeving-Shrinking/dp/B0B61PSP5Z/ref=sr_1_3?dib=eyJ2IjoiMSJ9.OyKOKT2inDPsL8MvYRJdYTozQyAIZjXoJWipPF1RhW-7bWKPFKwHVHer1aGEuvnoyW29H7ZqChPyWOA0Mk4tQlNQnqV3qBETwnza5IaJ1nerfkyCvMzlllx49dMYmVvf6rve5P-meja464xN2PfO09RMjSLhdb6jcSeZfF1mM4mRJmoIB_sLcdq16wClq2Wjwk2MW_5nfnGRZ5XwgWAlKGjqSHCzi-YRi2oSwbyu2pI.mcORi-97edRTIdFarPk7sw38QQcXFtKesjdMrU48R14&dib_tag=se&keywords=heat%2Bshrink%2Btube%2B2.5mm&qid=1747235131&sr=8-3&th=1
|  | Transistor (Switching of LEDs) | [Not available] Transistor 60V 150mA | 2SC1815GR | Amazon | 50V, 150mA, 400mW | 100 | 3 | 7.55 | 0.2265 | https://www.amazon.com/2SC1815GR-2SC1815-2SC1815-GR-Transistor-Original/dp/B07L8LJ5T7/ref=sr_1_1?dchild=1&keywords=2SC1815GR&qid=1591229403&s=electronics&sr=1-1 | Find a transistor with the similar specs to 2SC1815-GR.
|  |  | *100PCS 2SC1815GR TO92 2SC1815 TO-92 C1815 IC | 2SC1815-GR | Amazon | 50V, 150mA, 400mW | 100 | 3 | 6.34 |  | https://www.amazon.com/100PCS-2SC1815GR-TO92-2SC1815-C1815/dp/B0BWF2MRSQ/ref=sr_1_2?dib=eyJ2IjoiMSJ9._e9w0aUvgxbWrO4SzZqwns-2DeHLFm-IGN88vFZpfL22B95RIiMtykUusMNiLIcO5EaRt9dtZ7CvA10q17cB9SG6MSlLGtKETBYdRQrEFxmL5PQhvXNOBFAvDy4ptBy1zQd32uzhluC6uGbl38an3bUrh-7euwPeIGWCm0fAi6IAQV1fygPUb71XyK6dKexy_s29YgQYg7-mrCXI5BOqG9EPOgQr0jz4jtmi3qcSAon-RzF_-myJM_Sd55aYRCUTskaF4rypHFtnxPJkdcEI1PrvXHytsiWAPlg29gs4lRM.y5lEoowqWfKQ4IjW8C2kq995h1_HUkvorXlPHgR18xw&dib_tag=se&keywords=2SC1815GR&qid=1747175476&s=electronics&sr=1-2
|  |  | *20PCS 2SC1815GR 2SC1815 NPN Transistor TO-92 50V 150MA 400mW Marking C1815 | 2SC1815-GR | Amazon | 50V, 150mA, 400mW | 100 | 3 | 5.49 |  | https://www.amazon.com/20PCS-C1815-Transistor-150MA-400mW/dp/B07PFJXB2B/ref=sr_1_1?dib=eyJ2IjoiMSJ9._e9w0aUvgxbWrO4SzZqwns-2DeHLFm-IGN88vFZpfL22B95RIiMtykUusMNiLIcO5EaRt9dtZ7CvA10q17cB9SG6MSlLGtKETBYdRQrEFxmL5PQhvXNOBFAvDy4ptBy1zQd32uzhluC6uGbl38an3bUrh-7euwPeIGWCm0fAi6IAQV1fygPUb71XyK6dKexy_s29YgQYg7-mrCXI5BOqG9EPOgQr0jz4jtmi3qcSAon-RzF_-myJM_Sd55aYRCUTskaF4rypHFtnxPJkdcEI1PrvXHytsiWAPlg29gs4lRM.y5lEoowqWfKQ4IjW8C2kq995h1_HUkvorXlPHgR18xw&dib_tag=se&keywords=2SC1815GR&qid=1747175476&s=electronics&sr=1-1
|  | White LEDs (Ceilling illumination) | 5mm 20mA White diffused LED | 100pcs Ultra Bright 5mm LED Light Emitting Diode Diffused White |  |  | 100 | 4 | 6.23 | 0.2492 | https://www.amazon.com/100pcs-Ultra-Bright-Emitting-Diffused/dp/B01GE4WJ0Y | Any diffuse, 5mm diameter, Round lens style LED should work. If you use different white LED from the original paper, it would better to check the brightness of the chamber and adjust the brightness by changing the resistors attached to each white LED.
|  |  | *LEDDC-5WHI | LEDDC-5WHI | Digi-Key | LED white diffused 5mm round T/H | 1 | 4 | 0.91 |  | https://www.digikey.com/en/products/detail/lumimax-optoelectronic-technology/LEDDC-5WHI/26680744
|  | Green LEDs (Cue) | CHANZON 100 pcs 5mm Green LED Diode Lights (Clear Round Transparent DC 3V 20mA) Bright Lighting Bulb Lamps Electronics Components Indicator Light Emitting Diodes |  | Amazon | 5mm, 30 degree view angle, 3.2V 20mA 15000-18000mcd | 100 | 1 | 6.99 | 0.0699 | https://www.amazon.com/Transparent-Lighting-Electronics-Components-Emitting/dp/B01AUI4VVA/ref=sr_1_6?crid=DG5GLONOXPWN&dib=eyJ2IjoiMSJ9.CfuTTDZO0aVxLHwDXPMbt2Pa5NbLMcHizasESDWPb50Z0AN_v7ujQQScEBZp5S2SzuW-7TqrgEGV5MFxDbhRFxPIkjKtEOLqdE0rlIGg8l8Rp8oNrL1c8k_Oe9c9eBCo2z7p71h-4_-NZuhBtxDZdQUUJ1ILVIK-TUQbzx7QSero5_nSqwaGW_9MivF7JerO6cSMYA1LJAgRYj-zV63iFubN3TNjNujVT3oO9mj6noiECgrllhUa4K-j1ayGjFqwdgtkch7ZmAJr7ZfK11iVUW2r5-s8V67XFCtE8iDoIBo.YCEGsx6-PuQidtmdn9k-6yNOftv5-QZcYzMdcfwuqmI&dib_tag=se&keywords=amazon%2Bled%2Bgreen&qid=1747176930&sprefix=amazon%2Bled%2Bgree%2Caps%2C118&sr=8-6&th=1 | I have used clear(non-diffuse), 30 degree view angle green LED as a cue light in the paper. However, if such spec LED is not available, you can try diffuse or wider view angle one.
|  |  | *CHANZON 100pcs 5mm LED Diode Lights Assortment 10 Colors x 10pcs Diodes (Clear Transparent Lens) Emitting Lighting Bulb Lamp Assorted Kit Variety Color White Red Yellow Green Blue Orange UV Pink |  | Amazon | 5mm, 30 degree view angle, 3.2V 20mA 15000-18000mcd | 10 | 1 | 6.99 |  | https://www.amazon.com/Chanzon-100pcs-colors-Emitting-Assorted/dp/B01AUI4VSI/ref=sr_1_1_sspa?crid=3P0CF7LNQQI7S&dib=eyJ2IjoiMSJ9.nKctdrzavlHB9xlU3L51_V7HqI1xHc3QqPfeMU_PLfbbc44uvAd38obD_uWGOgLV-gWD2IXCU0nuZFTfsxPqaSpJRZJFVrQZv_Esg6MVs65dfKeiN1t0GpKH5KtHvL-VEWUDXaLfg3izESRz-vK-kOK8irIQl_YlNM_Dn4yoYL0LQltsxhfNzn98cwxFuKsk9R4lD9LMbFPCtRBnSjRwJ2Madj7Fv-iJ82iipLOUpnxP6oZxJevd9igLwdK_stN5aNZgp45hwYPkzmRZZsk-tBAgePFWaduEef97rBZSEMI.VKsGQ6ofGEijw35UjowoL2hnIUcVsySiTrrefXOA_80&dib_tag=se&keywords=green%2Bled&qid=1747176155&s=hi&sprefix=green%2Bled%2Ctools%2C105&sr=1-1-spons&sp_csd=d2lkZ2V0TmFtZT1zcF9hdGY&th=1
|  | Infrared LEDs (Nosepoke detection) | [Not available] Infrared LED (5mm, 940 nm) | Gikfun 5mm 940nm IR Infrared Launch Emission Tube Diode LED for Arduino(Pack of 50pcs) EK1372 | Amazon | For IR illumination to detect nosepoke | 50 | 5 | 7.5 | 0.75 | https://www.amazon.com/Gikfun-Infrared-Launch-Emission-Arduino/dp/B00RK1VJB6/ref=sr_1_1?dchild=1&keywords=Gikfun+5mm+940nm+IR+Infrared+Launch+Emission+Tube+Diode+LED+for+Arduino%28Pack+of+50pcs%29+EK1372&qid=1591230425&s=electronics&sr=1-1 | Any IR LED with 5mm diameter and >40 degree emission angle should work.
Out of Stock in DigiKey! |  |  | *QED234 | QED234 | Digi-Key | Emitter IR 940nm 100mA Radial 40 degree | 1 | 5 | 0.69 |  | https://www.digikey.com/en/products/detail/onsemi/QED234/400449
|  |  | *HR5P-N4FA-00000 | HR5P-N4FA-00000 | Digi-Key | IR Lamp, 5mm 940nm, 50 degree | 1 | 5 | 0.79 |  | https://www.digikey.com/en/products/detail/broadcom-limited/HR5P-N4FA-00000/10257500
|  | Fan | 4PCS 3D Printer Cooling Fan 40mmx40mmx10mm Oil Bearing Blower Fan DC 12V Brushless Cooling Fan with 2 Pin Terminal for Hotend Extruder Heatsinks Makerbot MK7 MK8 CPU Chip (12V 0.08A) |  | Amazon |  | 4 | 1 | 8.99 | 2.2475 | https://www.amazon.com/Brushless-40x40x10mm-Terminal-Extruder-Heatsinks/dp/B08TBTGF55?th=1 | Any 40 x 40 mm brushless DC fan (working current: <0.06A) would work. Idealy it should be silent. This is DC 12V fan but I confirmed that it works with 5V, however I'm not sure all DC 12V fan works at 5V. If it doesn't work, you can find DC 5V fan and connect resistor to decrease its speed to lower the noise.
|  |  | *6Pcs 40mm USB Brushless Cooling Fan 40mm x10mm DC 5V Quiet Cooling Fan 4010 Mini Computer Fan for Small Appliances Series Replacement(4010USB 5V) |  | Amazon |  | 6 | 1 | 9.99 |  | https://www.amazon.com/AITIAO-Brushless-Computer-Appliances-Replacement/dp/B09Y32B64V/ref=sxin_16_pa_sp_search_thematic_sspa?content-id=amzn1.sym.87b1f643-33a9-49d2-948f-44f2ccfe0508%3Aamzn1.sym.87b1f643-33a9-49d2-948f-44f2ccfe0508&crid=2C79UOBPKFS66&cv_ct_cx=fan%2B40mm&keywords=fan%2B40mm&pd_rd_i=B09Y32B64V&pd_rd_r=4721ba72-55be-47d9-8737-7c9d64f2d2ae&pd_rd_w=9C2Rc&pd_rd_wg=h9tdX&pf_rd_p=87b1f643-33a9-49d2-948f-44f2ccfe0508&pf_rd_r=K6R7YZ182SC60DW835W1&qid=1747240204&sbo=RZvfv%2F%2FHxDF%2BO5021pAnSA%3D%3D&sprefix=fan%2B40m%2Caps%2C116&sr=1-2-6024b2a3-78e4-4fed-8fed-e1613be3bcce-spons&sp_csd=d2lkZ2V0TmFtZT1zcF9zZWFyY2hfdGhlbWF0aWM&th=1
If you use the alternate part, decrease its speed by adding resistance to the fan serially to decrease the fan speed to decrease the noise and air flow to make the mouse comfort. Only minimum air flow is required.
|  | Jumper wire | Elegoo EL-CP-004 120pcs Multicolored Dupont Wire 40pin Male to Female, 40pin Male to Male, 40pin Female to Female Breadboard Jumper Wires Ribbon Cables Kit for arduino |  | Amazon | For the connection to arduino and Raspberry Pi | 120 | 12 | 6.98 | 0.698 | https://www.amazon.com/Elegoo-EL-CP-004-Multicolored-Breadboard-arduino/dp/B01EV70C78/ref=sr_1_1_sspa?dchild=1&keywords=elegoo+el-cp-004+120+pcs+m&qid=1591230109&s=electronics&sr=1-1-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUExRTZFVTk4TU9PT1IxJmVuY3J5cHRlZElkPUEwMTU5MTEzMzcyTjBHOUs1Q1BTTiZlbmNyeXB0ZWRBZElkPUEwNDI3MjEzMTJHUEU4R1E1UldSNCZ3aWRnZXROYW1lPXNwX2F0ZiZhY3Rpb249Y2xpY2tSZWRpcmVjdCZkb05vdExvZ0NsaWNrPXRydWU= | Any male-male jumper wire work.
|  |  | *120pcs Breadboard Jumper Wires 10cm 15cm 20cm 30cm 40cm 50 cm 100cm Wire Length Optional Dupont Cable Assorted Kit Male to Female Male to Male Female to Female Multicolored Ribbon Cables |  |  |  | 120 | 12 | 6.98 |  | https://www.amazon.com/EDGELEC-Breadboard-Optional-Assorted-Multicolored/dp/B07GD2BWPY/ref=sr_1_4?crid=VJIGW7JCOL42&dib=eyJ2IjoiMSJ9.tjHxIQLJsk16_0YVtUGN6aqwkJL6hCuidHoQKI-5vjt5b9bpkdKQ0oFtjTxDoOJKbjxzYZOXVPxE7fARbODIfE_sdDCrLMxkGfa-hKemOThPlTTPHcrGuMeEEiEmHn2P2Yytpa-lf_mBjr6TKzzCAcsjaR7SDJl-tnNuh6rVeeas43oS749QEb3-1E7Qt6LhWH-Ts7M0L5Le6rL8I0Spo6evecHwJs2XaBy-moeMGZCG7S0rswWv5rXa2zfkTX62DdKLz3I_4x8MDQR78tEH--RXrDpAlPoPbuwZXL5husg.PmYIYNKMCU6sKLW61fCGS6zbC0d4OO9liuq3EGMES30&dib_tag=se&keywords=jump%2Bwire&qid=1747235554&s=electronics&sprefix=jump%2Bwire%2Celectronics%2C88&sr=1-4&th=1
|  | Normal wire | 24 AWG Wire (100 ft, black) | 8054T12 | McMaster |  | 1 | 0.1 | 9.97 | 0.997 | https://www.mcmaster.com/wire/wire-and-cable/wire-7/ | Any 24 AWG wire work.
|  |  | 24 AWG Wire (100 ft, white) | 8054T12 | McMaster |  | 1 | 0.1 | 9.97 | 0.997 | https://www.mcmaster.com/wire/wire-and-cable/wire-7/ | Any 24 AWG wire work.
| Water bottle arm | Servo | Servo motor (25kg, 270 degree angle) | DS3225MG | Amazon |  | 2 | 1 | 32.88 | 16.44 | https://www.amazon.com/Wishiot-Digital-Waterproof-Robotic-Crawler/dp/B08DCHGRXG/ref=sr_1_2_sspa?dchild=1&keywords=DS3225MG&qid=1625162309&s=toys-and-games&sr=1-2-spons&psc=1&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUFXRE9ITzVLOTRJNkEmZW5jcnlwdGVkSWQ9QTA4MjE1OTAySjBCNENOVlY2VkFaJmVuY3J5cHRlZEFkSWQ9QTAwMzUyODMzUkdGT0VPSkdEV1c2JndpZGdldE5hbWU9c3BfYXRmJmFjdGlvbj1jbGlja1JlZGlyZWN0JmRvTm90TG9nQ2xpY2s9dHJ1ZQ== | Any water-proof servo should work. The water-proof servo is less noisy because its case has smaller gap.
|  |  | *DS3225 25KG RC Servo Waterproof Metal Gear Servo High Torque Digital Servo for Baja 1/8 1/10 Scale RC Model Cars (270 Degree Servo) | DS3225MG | Amazon |  | 1 | 1 | 16.99 |  | https://www.amazon.com/Stemedu-DS3225-Waterproof-Digital-Airplane/dp/B09DVRGWPN/ref=sr_1_17?dib=eyJ2IjoiMSJ9.B3vBR79OPKaS2LFbCvyaX2yRMsyoWZNdJ6ABdtHL_wLHJVZZrHhtpZ1HE-y6v7Epjt8M8vbODajd3nxiGEoYtW4SDf5F8x4KS8lHHT_TCc6PUy0xZ0anoM7s-vKW04VNNdkkdtgRZQlI_CUhjczMp5lMdFjLLGfM2uw2lG8Re71L-GBLXCor2fzY4xPJdWWbzlWhO9Qb7IO1XT1-EGl1JGyaMCy73ZoHOpupL-oYKxDnxVz9Vd2NopsThZK_bewYSU44LPkO4mdSqmr85ZZ3IrRZi3HfVYWATLZP3C7vP3E.6F7iim_q8XWohTiqMHQ52JChfqouES2CSQWFcO7LBkY&dib_tag=se&keywords=DS3225MG&qid=1747235881&s=toys-and-games&sr=1-17
|  | Servo cable | 3-pin servo connector male-female | 500mm Servo Extension Cable 3 Pin Male to Female Lead Wire for RC Airplane (10Pcs) | Amazon |  | 10 | 1 | 6.99 | 0.699 | https://www.amazon.com/dp/B01HLUZO4S/ref=twister_B08KDSL8G2?_encoding=UTF8&psc=1 | Any servo cable should work.
|  |  | *20pcs 26awg 11.81in 30cm 300mm Servo Extension Lead Wiring Cable Male to Male KK MK MWC Flight Control Board for RC Quadcopter (Pack of 20) |  | Amazon |  |  |  | 9.98 |  | https://www.amazon.com/OliYin-11-81in-Extension-Control-Quadcopter/dp/B071P3J1ZB/ref=sr_1_1_sspa?crid=3V959QGNMRQCV&dib=eyJ2IjoiMSJ9.9tDDHXPUIoLlHjV2GAsRhH9gIAHtTdId214IedGzvIwV_Q5reUwjVW5dHcFT3fi1JWGNjdxzC85JsIGS8GkSGsz7a-r_r8lzfk2_f-Hg2aAV_-DLJtEyEi3YgXUUsHdVLrVJJ0VLZ847osmjpMY6pnsjtkETeIXTMkxGj92FVXCHFerCEPrJtolALPU6nQ7hbIEygrTboyKyz0TQC1sfVZKldPhprQcYWyifFDv7zxC7orkI4xcYywg5_rNRVcvtf-kVs-f9IxQZxG-hMIXduejyEWSrJ0AqW3r_j9cExOU.Q1a-LgvETbcviwck7sy1Xfv14T4YWPxxx8MzR1rmHfE&dib_tag=se&keywords=servo+cable&qid=1747236029&s=toys-and-games&sprefix=servo+cable%2Ctoys-and-games%2C88&sr=1-1-spons&sp_csd=d2lkZ2V0TmFtZT1zcF9hdGY&psc=1
|  | Water bottle | Water bottle (8 oz) | PC8HT | Ancare |  | 1 | 1 | 6.6 | 6.6 | https://www.ancare.com/products/wide-mouth-bottles?variant=41326986199226 | Any water bottle fit to the water arm holder should work. If you cannot find such water bottle, you need to modify the water arm holder.
|  | Water bottle rubber | Rubber stopper (for water bottle) | 10R Size #10 | Ancare |  | 1 | 1 | 1.85 | 1.85 | sales@ancare.com
|  | Water nozzle | Ball point drinking tube | TD-100 | Ancare | Ball point tube prevent water from dripping when it moves. | 1 | 1 | 1.62 | 1.62 | sales@ancare.com | Ball point tube is required or the nozzle dripps water when the water bottle rotates.
|  | Power strip | Power strip (6 outlet) | GE 6-Outlet Surge Protector, 10 Ft Extension Cord, Power Strip, 800 Joules, Flat Plug, Twist-to-Close Safety Covers, UL Listed, White, 14092 | Amazon | For power supply | 1 | 1 | 13.99 | 13.99 | https://www.amazon.com/GE-Outlet-Protector-Extension-14092/dp/B00DOMYL24/ref=sr_1_3?dchild=1&keywords=power+stripe&qid=1625164246&sr=8-3 | Any power strip works. Single OperantHouse requires two outlets.
| Others | Screws(M2 x 20mm, 0.4mm pitch) | 92000A026 | 92000A026 | McMaster |  | 100 | 6 | 8.75 | 0.525 | https://www.mcmaster.com/screws/drive-style~phillips/thread-size~m2/length~20-mm/ | Any screw with the same dimensions work.
|  | Screws(M3 x 50mm, 0.5mm pitch) | 92000A139 | 92000A139 | McMaster |  | 100 | 8 | 6.56 | 0.5248 | https://www.mcmaster.com/screws/thread-size~m3/drive-style~phillips/length~50mm/ | Any screw with the same dimensions work.
|  | Screws(M3 x 20mm, 0.5mm pitch) | 91420A128 | 91420A128 | McMaster | Joint water holder to the base | 100 | 3 | 4.4 | 0.132 | https://www.mcmaster.com/screws/system-of-measurement~metric/thread-size~m3/length~20-mm/drive-style~phillips/ | Any screw with the same dimensions (flat head) work.
|  | Screws(M2, 0.4mm pitch) | 90592A075 | 90592A075 | McMaster |  | 100 | 6 | 2.06 | 0.1236 | https://www.mcmaster.com/nuts/hex-nuts/thread-size~m2/ | Any nut with the same dimensions work.
|  | Screws(M3, 0.5mm pitch) | 90592A085 | 90592A085 | McMaster |  | 100 | 11 | 1.17 | 0.1287 | https://www.mcmaster.com/nuts/hex-nuts/thread-size~m3/thread-pitch~0-5-mm-1/ | Any nut with the same dimensions work.
|  | Ethernet hub | TP-Link 16 Port Gigabit Ethernet Network Switch, Desktop/ Wall-Mount, Fanless, Sturdy Metal w/ Shielded Ports, Traffic Optimization, Unmanaged, Limited Lifetime Protection (TL-SG116) Black |  | Amazon | This can connect to 16 OperantHouses | 16 | 1 | 57.99 | 3.6244 | https://www.amazon.com/TP-Link-16-Port-Gigabit-Ethernet-Switch/dp/B07GR9S6FN/ref=sr_1_4?dchild=1&keywords=hub+ethernet+12&qid=1625166770&sr=8-4 | Each device requires one ethernet port.
|  | Ethernet cable | Ethernet Cable 10 ft, Cat 8 Shielded High Speed Ethernet Cable 40Gbps with Gold Plated Plug SFTP Wires CAT8 RJ45 Connector Gaming LAN Cable for Router, Modem, Gaming, Xbox, POE, PS3, PS4, PS5, Black |  | Amazon | 10ft cable | 1 | 1 | 8.49 | 8.49 | https://www.amazon.com/Ethernet-Shielded-40Gbps-Plated-Connector/dp/B08296GPP3/ref=sr_1_16?dchild=1&keywords=ethernet+cable&qid=1625167110&sr=8-16 | Determine length depend on the location of the device.
|  | Mouse | Logitech B100 Corded Mouse – Wired USB Mouse for Computers and laptops, for Right or Left Hand Use, Black |  | Amazon |  | 1 | 1 | 7.99 | 7.99 | https://www.amazon.com/Logitech-800dpi-Optical-3-button-Ambidextrous/dp/B003L62T7W/ref=sxin_12_ac_d_rm?ac_md=0-0-bW91c2U%3D-ac_d_rm&cv_ct_cx=mouse&dchild=1&keywords=mouse&pd_rd_i=B003L62T7W&pd_rd_r=60e81d98-6868-4788-bc4e-e10c36b6796a&pd_rd_w=kM986&pd_rd_wg=Qfpcw&pf_rd_p=1493ce18-a74b-4311-9662-82d8e55e9a65&pf_rd_r=C9VFQQS17499EVQD5Q0P&psc=1&qid=1625167304&sr=1-1-12d4272d-8adb-4121-8624-135149aa9081 | Any USB mouse works.
|  | Grey PLA plus filament (3D printing) | [No available] PLA(+) (Gray, 1.75mm, 1kg) | PLA Plus 3D Printer Filament, JAYO PLA+ Filament 1.75 mm, Dimensional Accuracy +/- 0.02 mm, 1 KG Spool, PLA+ Grey | Amazon |  | 1 | 0.5 | 18.99 | 9.495 | https://www.amazon.com/dp/B08NJ2QPFM?psc=1&ref=ppx_yo2_dt_b_product_details | Any PLA plus filament work("PLA plus" is a filament different from "PLA"). I used light gray filament. The brightness of the enviornment would effect behavior so if you want to make the conditions the same as in the paper, use light gray color.
|  |  | *DURAMIC 3D PLA+ Filament 1.75mm 1Kg Gray |  | Amazon |  | 1 | 0.5 | 16.99 |  | https://www.amazon.com/DURAMIC-3D-Filament-Printing-Dimensional/dp/B07TW9KTVV/ref=sr_1_6?crid=RLLKBSPFRK4J&dib=eyJ2IjoiMSJ9.flxATa08KVik2_pKHDwAcR6AnRfnGtdI2FyyasGjzNXjFmeGGXR1phxTzHbjXw_yjmmrwOc2ZlxGSp6XaXaNOfl1axZU9i4NYAuAcsHK-0dGBg-53no7P7Ou2PzAYqmJ7jJU1LLf2MfSA7H6C7QTTcjgvqdeeRMjLNF5ZwuOFq42m4xeS6aGD-IVG11oFU6m9ED-iDo1oOu9ptg8IB-Lw9422lxFXX62GDZx1iBo2Q65x_3bQG5A7wTUtrRw4o8IAUAMOMPlorNEjtTy-ztncdl5HuTQir_L9HV9UPt5MJE.0i6RUW6fsD2SO9Wn31_526Uq0ZGNVbiNSg00yp5XSW0&dib_tag=se&keywords=pla%2Bplus%2Bgray&qid=1747179577&s=industrial&sprefix=pla%2Bplus%2Bgray%2Cindustrial%2C98&sr=1-6&th=1

## OptionParts
Component | Part | Name | Manufacture #/Catalog # | Vendor | Description | Part number is the set | Required part number for each device | $(Set) | $(Each device) | URL | Alternate part requirement
Infrared sensor bar | NNAMC3460PCEV | Infrared sensor bar |  | Digi-Key | Veru fragile. Do not bend it. | 1 | 216.17 | 216.17 |  | https://www.digikey.com/en/products/detail/neonode-inc/NNAMC3460PC01/7776720 | There is no alternate part. If you are planning to make many OperantHouses, it is recommended to buy the needed number. It is also recommended to buy at least one stock because this is very fragile and can be broken during experiment.
| USB cable (Type A to microB, male/male, 1ft) | Cable for infrared sensor bar |  | Amazon |  | 1 | 4.95 | 4.95 |  | https://www.amazon.com/StarTech-com-Mobile-Charge-Micro-Cable/dp/B00MTZUWO8/ref=sr_1_4?crid=3P18G9IA3D0J7&keywords=usb+micro+b+a+1+feet&qid=1680303678&sprefix=usb+micro+b+a+1+fee%2Caps%2C280&sr=8-4 | Any type A to microB, male/male, >1ft works.
| White PLA plus filament (3D printing for lever module) | PLA(+) (White, 1.75mm, 1kg) | CCTREE 3D Printing Filament ST-PLA (PLA+) 1.75mm for Creality Ender 3/Ender 3 Pro/Ender 3 V2,Ender 5 Pro/Plus, S5 Accuracy +/- 0.03mm 1kg Spool (2.2lbs), White | Amazon | Choose white color at the shop page | 1 | 0.01 | 20.99 | 0.2099 | https://www.amazon.com/dp/B06XR7621X?psc=1&ref=ppx_yo2_dt_b_product_details | Any PLA plus white filament works.